Tender CUI/ATD/32/Biotech (2020-2021)

| Tender S# | Description | Quantity Required |
| --- | --- | --- |
| 1 | Trans Illuminator Light Source: 4 x 8 Watt UV bulbs Wavelength: 302nm Intensity Control: Low (50%) or High (100%) Viewing Surface: 16 x 19cm Electrical: 220V, 50-60Hz Warranty: 2 Years | 01 No |
| 2 | Laminar Flow Hood Customized: Structure: Vertical Material: Stainless Steel Application: Lab Type: Clean Bench Cleaning Level: Grade 100 (209e U.S. Federal) Several Colonies: ≤0.5per Utensil. Hour (90mm Utensil) The Average Wind Speed: 0.25 ~0.454m/S (Speed Two – Speed) Noise: ≤62dB Power: AC, Single 220 V/50Hz Illumination: ≥300lx Max. Power Consumption: 300W Weight: <85kg Dimension of working: 700*500*520mm | 01 No |
| 3 | Camera Photography: Full HD Movie: Yes, Rear Camera Pixel: 18.0 Features: LCD Size: 3.0 Inch, Build in Flash: Yes, Memory Type: SD Warranty: 1 Year genuine Hardware: Battery Life: 440 Shoots | 01 No |